## sizing
|  | Workload (TPS) | Core per Server | Max Server Faults | HA Ratio
|  | 1000 | 40 | 1 | 80%
| Typical core Ratio | TPS by Core | # of Cores for workload TPS | HA cores | Prod cores | Dev % of Workload | Dev cores | Test % of Workload | Test cores | PreProd % of Workload | PreProd cores | DR active cores % of Prod+PreProd | DR cores | DR CBU (spare) cores | Tot # of Active cores | x86 to z Active Core ratio | Tot # of Active cores no DR | x86 to z Core ratio no DR | Tot # of cores | x86 to z Core ratio
x86 | 10 | 20 | 50 | 40 | 90 | 50% | 25 | 50% | 25 | 100% | 50 | 100% | 140 |  | 330 | 20.625 | 190 | 11.875 | 330 | 12.6923
LinuxONE | 1 | 200 | 5 |  | 5 | 50% | 3 | 50% | 3 | 100% | 5 |  |  | 10 | 16 |  | 16 |  | 26
* most customers would have exact replica of Prod
Sizing Disclaimer:
Calculation of required cores for a real workload requires sophisticated analysis.
In order to make a simple and realistic sizing, for this exercise a simplified approach is used considering the Typical core ratio.
The typical core ratio take into account:
Architecture, GHz & utilization, VM & Hypervisor effect, System Overhead, Networking co-location effect, Sysplex, etc.
Although these data will change slightly depending the server model used, these data averages are proved by many real workloads and documented also on papers such as those reported in the references.
Reference: A. Micarelli, S. Proietti Conti, "Why Application Requirements Should Drive the Choice of your Infrastructure", 2021 IBM Corporation web published paper
Download at: | https://www.ibm.com/downloads/cas/2VVYYVNP
Legend:
Input field
Optional input
Suggested input (reccomended not change)
Calculated values
Calculated values highlighted (Very Important)
Calculated values highlighted (Important)
Constant

## x86 TCO
Small Size Enterprise | [15 empty] | Acquisition Cost |  |  |  |  | Maintenance/ Operating Cost |  |  |  |  | TOTALS
Typically x86 workload | [15 empty] | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5
Hardware
Server Model |  | Acquisition Cost | Maintenance/ Operating Cost | Starting Year of Maint | Discount % | # of Cores per Server | # of Sockets | # of Cores per socket | # of "boxes" per Rack |  | kW
Rack server w Xeon Gold 6242 20C 3.10GHz (2 Chips, 40 Cores) | 1 | 12501 | 2500.2 | 4 | 30% | 40 | 2 | 20 | 30 |  | 0.6
Rack server w Xeon Gold 6242 20C 3.10GHz (2 Chips, 40 Cores) | S | 12501 | 2500.2 | 4 | 30% | 40 | 2 | 20 | 30 |  | 0.6
Rack server w Xeon Gold 5218 16C 2.30GHz (2 Chips, 32 Cores) | 0 | 9758 | 1951.6 | 4 | 30% | 32 | 2 | 16 | 30 |  | 0.352
Rack server w Xeon Gold 6226 16C 2.90GHz (2 Chips, 32 Cores) | 0 | 9972 | 1994.4 | 4 | 30% | 32 | 2 | 16 | 15 |  | 0.7
Rack server w Xeon Gold 6248 24C 3.00GHz (2 Chips, 48 Cores) | 0 | 12486 | 2497.2 | 4 | 30% | 48 | 2 | 24 | 15 |  | 0.9
| 0 |  |  |  |  | 0
| 0 |  |  |  |  | 0
| 0 |  |  |  |  | 0
| 0 |  |  |  |  | 0
| 0 |  |  |  |  | 0
| 0 |  |  |  |  | 0
| 0 |  |  |  |  | 0
Environment being investigated |  | # of Cores for bare workload | % of Cores vs bare workload | Allocated Cores | cores per Server | Allocated Servers | Tot cores available | Spare Cores | % of spare cores | Allocated Sockets |  |  | # of Server | # of Sockets | # of Cores | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5 | TOT
Prod |  | 50 | see sizing | 90 | 40 | 3 | 120 | 30 | 25% | 5 |  | Prod | 3 | 5 | 90 | 26252.1 |  |  |  |  | 0 | 0 | 0 | 5250.42 | 5250.42 | 36752.94 | Prod
Dev |  |  | 50% | 25 | 40 | 1 | 40 | 15 | 37.5% | 2 |  | Dev | 1 | 2 | 25 | 8750.7 |  |  |  |  | 0 | 0 | 0 | 1750.14 | 1750.14 | 12250.98 | Dev
Test |  |  | 50% | 25 | 40 | 1 | 40 | 15 | 37.5% | 2 |  | Test | 1 | 2 | 25 | 8750.7 |  |  |  |  | 0 | 0 | 0 | 1750.14 | 1750.14 | 12250.98 | Test
PreProd |  |  | 100% | 50 | 40 | 2 | 80 | 30 | 37.5% | 3 |  | PreProd | 2 | 3 | 50 | 17501.4 |  |  |  |  | 0 | 0 | 0 | 3500.28 | 3500.28 | 24501.96 | QA
DR |  |  | 100% | 140 | 40 | 5 | 200 | 60 | 30% | 7 |  | DR | 5 | 7 | 140 | 43753.5 |  |  |  |  | 0 | 0 | 0 | 8750.7 | 8750.7 | 61254.9 | DR
TOT |  |  |  | 330 |  | 12 | 480 | 150 | 31.25% | 19 |  |  | 12 | 19 | 330 | 105008.4 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 21001.68 | 21001.68 | 147011.76 | TOT
[13 empty] | # of Server | # of Sockets | # of Cores
Software Stack
Production |  | Acquisition/ Capital Cost | Maintenance/ Operating Cost | Starting Year of yearly charges | Discount % | Unit of Measure | Measured by | conversion factor | server | socket | core |  | count | Unit of Measure | Units | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5 | TOT
OS |  |  | 2000 | 1 | 20% | socket | socket | 1 | 3 | 5 | 90 |  | 5 | socket | 5 | 0 |  |  |  |  | 8000 | 8000 | 8000 | 8000 | 8000 | 40000
VM |  | 5000 | 1000 | 2 | 20% | socket | socket | 1 | 3 | 5 | 90 |  | 5 | socket | 5 | 20000 |  |  |  |  | 0 | 4000 | 4000 | 4000 | 4000 | 36000
Application Server |  | 1062 | 212.4 | 2 | 75% | PVU | core | 70 | 3 | 5 | 90 |  | 90 | PVU | 6300 | 1672650 |  |  |  |  | 0 | 334530 | 334530 | 334530 | 334530 | 3010770
DB |  | 13748 | 2749.6 | 2 | 75% | core | core | 0.5 | 3 | 5 | 90 |  | 90 | core | 45 | 154665 |  |  |  |  | 0 | 30933 | 30933 | 30933 | 30933 | 278397
Data Replication Tools |  |  | 3000 | 1 | 75% | core | core | 0.5 | 3 | 5 | 90 |  | 90 | core | 45 | 0 |  |  |  |  | 33750 | 33750 | 33750 | 33750 | 33750 | 168750
Monitoring Tools |  | 5000 | 1000 | 2 | 40% | server | server | 1 | 3 | 5 | 90 |  | 3 | server | 3 | 9000 |  |  |  |  | 0 | 1800 | 1800 | 1800 | 1800 | 16200
Security Tools |  | 5000 | 1000 | 2 | 40% | server | server | 1 | 3 | 5 | 90 |  | 3 | server | 3 | 9000 |  |  |  |  | 0 | 1800 | 1800 | 1800 | 1800 | 16200
[15 empty] | PROD | 1865315 | 0 | 0 | 0 | 0 | 41750 | 414813 | 414813 | 414813 | 414813 | 3566317
Dev |  | Acquisition/ Capital Cost | Maintenance/ Operating Cost | Starting Year of yearly charges | Discount % | Unit of Measure | Measured by | conversion factor | server | socket | core |  | count | Unit of Measure | Units | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5 | TOT
OS |  | 0 | 2000 | 1 | 20% | socket | socket | 1 | 1 | 2 | 25 |  | 2 | socket | 2 | 0 |  |  |  |  | 3200 | 3200 | 3200 | 3200 | 3200 | 16000
VM |  | 5000 | 1000 | 2 | 20% | socket | socket | 1 | 1 | 2 | 25 |  | 2 | socket | 2 | 8000 |  |  |  |  | 0 | 1600 | 1600 | 1600 | 1600 | 14400
Application Server |  | 1062 | 212.4 | 2 | 75% | PVU | core | 70 | 1 | 2 | 25 |  | 25 | PVU | 1750 | 464625 |  |  |  |  | 0 | 92925 | 92925 | 92925 | 92925 | 836325
DB |  | 13748 | 2749.6 | 2 | 75% | core | core | 0.5 | 1 | 2 | 25 |  | 25 | core | 12.5 | 42962.5 |  |  |  |  | 0 | 8592.5 | 8592.5 | 8592.5 | 8592.5 | 77332.5
Data Replication Tools |  | 0 | 3000 | 1 | 75% | core | core | 0.5 | 1 | 2 | 25 |  | 25 | core | 12.5 | 0 |  |  |  |  | 9375 | 9375 | 9375 | 9375 | 9375 | 46875
Monitoring Tools |  | 5000 | 1000 | 2 | 40% | server | server | 1 | 1 | 2 | 25 |  | 1 | server | 1 | 3000 |  |  |  |  | 0 | 600 | 600 | 600 | 600 | 5400
Security Tools |  | 5000 | 1000 | 2 | 40% | server | server | 1 | 1 | 2 | 25 |  | 1 | server | 1 | 3000 |  |  |  |  | 0 | 600 | 600 | 600 | 600 | 5400
[15 empty] | DEV | 521587.5 | 0 | 0 | 0 | 0 | 12575 | 116892.5 | 116892.5 | 116892.5 | 116892.5 | 1001732.5
Test |  | Acquisition/ Capital Cost | Maintenance/ Operating Cost | Starting Year of yearly charges | Discount % | Unit of Measure | Measured by | conversion factor | server | socket | core |  | count | Unit of Measure | Units | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5 | TOT
OS |  | 0 | 2000 | 1 | 20% | socket | socket | 1 | 1 | 2 | 25 |  | 2 | socket | 2 | 0 |  |  |  |  | 3200 | 3200 | 3200 | 3200 | 3200 | 16000
VM |  | 5000 | 1000 | 2 | 20% | socket | socket | 1 | 1 | 2 | 25 |  | 2 | socket | 2 | 8000 |  |  |  |  | 0 | 1600 | 1600 | 1600 | 1600 | 14400
Application Server |  | 1062 | 212.4 | 2 | 75% | PVU | core | 70 | 1 | 2 | 25 |  | 25 | PVU | 1750 | 464625 |  |  |  |  | 0 | 92925 | 92925 | 92925 | 92925 | 836325
DB |  | 13748 | 2749.6 | 2 | 75% | core | core | 0.5 | 1 | 2 | 25 |  | 25 | core | 12.5 | 42962.5 |  |  |  |  | 0 | 8592.5 | 8592.5 | 8592.5 | 8592.5 | 77332.5
Data Replication Tools |  | 0 | 3000 | 1 | 75% | core | core | 0.5 | 1 | 2 | 25 |  | 25 | core | 12.5 | 0 |  |  |  |  | 9375 | 9375 | 9375 | 9375 | 9375 | 46875
Monitoring Tools |  | 5000 | 1000 | 2 | 40% | server | server | 1 | 1 | 2 | 25 |  | 1 | server | 1 | 3000 |  |  |  |  | 0 | 600 | 600 | 600 | 600 | 5400
Security Tools |  | 5000 | 1000 | 2 | 40% | server | server | 1 | 1 | 2 | 25 |  | 1 | server | 1 | 3000 |  |  |  |  | 0 | 600 | 600 | 600 | 600 | 5400
[15 empty] | Test | 521587.5 | 0 | 0 | 0 | 0 | 12575 | 116892.5 | 116892.5 | 116892.5 | 116892.5 | 1001732.5
Pre Prod / QA |  | Acquisition/ Capital Cost | Maintenance/ Operating Cost | Starting Year of yearly charges | Discount % | Unit of Measure | Measured by | conversion factor | server | socket | core |  | count | Unit of Measure | Units | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5 | TOT
OS |  | 0 | 2000 | 1 | 20% | socket | socket | 1 | 2 | 3 | 50 |  | 3 | socket | 3 | 0 |  |  |  |  | 4800 | 4800 | 4800 | 4800 | 4800 | 24000
VM |  | 5000 | 1000 | 2 | 20% | socket | socket | 1 | 2 | 3 | 50 |  | 3 | socket | 3 | 12000 |  |  |  |  | 0 | 2400 | 2400 | 2400 | 2400 | 21600
Application Server |  | 1062 | 212.4 | 2 | 75% | PVU | core | 70 | 2 | 3 | 50 |  | 50 | PVU | 3500 | 929250 |  |  |  |  | 0 | 185850 | 185850 | 185850 | 185850 | 1672650
DB |  | 13748 | 2749.6 | 2 | 75% | core | core | 0.5 | 2 | 3 | 50 |  | 50 | core | 25 | 85925 |  |  |  |  | 0 | 17185 | 17185 | 17185 | 17185 | 154665
Data Replication Tools |  | 0 | 3000 | 1 | 75% | core | core | 0.5 | 2 | 3 | 50 |  | 50 | core | 25 | 0 |  |  |  |  | 18750 | 18750 | 18750 | 18750 | 18750 | 93750
Monitoring Tools |  | 5000 | 1000 | 2 | 40% | server | server | 1 | 2 | 3 | 50 |  | 2 | server | 2 | 6000 |  |  |  |  | 0 | 1200 | 1200 | 1200 | 1200 | 10800
Security Tools |  | 5000 | 1000 | 2 | 40% | server | server | 1 | 2 | 3 | 50 |  | 2 | server | 2 | 6000 |  |  |  |  | 0 | 1200 | 1200 | 1200 | 1200 | 10800
[15 empty] | Pre Prod /QA | 1039175 | 0 | 0 | 0 | 0 | 23550 | 231385 | 231385 | 231385 | 231385 | 1988265
DR |  | Acquisition/ Capital Cost | Maintenance/ Operating Cost | Starting Year of yearly charges | Discount % | Unit of Measure | Measured by | conversion factor | server | socket | core |  | count | Unit of Measure | Units | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5 | TOT
OS |  | 0 | 2000 | 1 | 20% | socket | socket | 1 | 5 | 7 | 140 |  | 7 | socket | 7 | 0 |  |  |  |  | 11200 | 11200 | 11200 | 11200 | 11200 | 56000
VM |  | 5000 | 1000 | 2 | 20% | socket | socket | 1 | 5 | 7 | 140 |  | 7 | socket | 7 | 28000 |  |  |  |  | 0 | 5600 | 5600 | 5600 | 5600 | 50400
Application Server |  | 1062 | 212.4 | 2 | 75% | PVU | core | 70 | 5 | 7 | 140 |  | 140 | PVU | 9800 | 2601900 |  |  |  |  | 0 | 520380 | 520380 | 520380 | 520380 | 4683420
DB |  | 13748 | 2749.6 | 2 | 75% | core | core | 0.5 | 5 | 7 | 140 |  | 140 | core | 70 | 240590 |  |  |  |  | 0 | 48118 | 48118 | 48118 | 48118 | 433062
Data Replication Tools |  | 0 | 3000 | 1 | 75% | core | core | 0.5 | 5 | 7 | 140 |  | 140 | core | 70 | 0 |  |  |  |  | 52500 | 52500 | 52500 | 52500 | 52500 | 262500
Monitoring Tools |  | 5000 | 1000 | 2 | 40% | server | server | 1 | 5 | 7 | 140 |  | 5 | server | 5 | 15000 |  |  |  |  | 0 | 3000 | 3000 | 3000 | 3000 | 27000
Security Tools |  | 5000 | 1000 | 2 | 40% | server | server | 1 | 5 | 7 | 140 |  | 5 | server | 5 | 15000 |  |  |  |  | 0 | 3000 | 3000 | 3000 | 3000 | 27000
[15 empty] | DR | 2900490 | 0 | 0 | 0 | 0 | 63700 | 643798 | 643798 | 643798 | 643798 | 5539382
[13 empty] | Software Stack TOTALS |  |  | 6848155 | 0 | 0 | 0 | 0 | 154150 | 1523781 | 1523781 | 1523781 | 1523781 | 13097429 | TOT
People
People | [12 empty] | # of Server | FTE Require |  | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5 | TOT
# of Servers covered by 1 FTE for IT Operations considering QoS |  |  | 30 | This is for patches, upgrade, backup, Crit Sit or Disaster recovery personnels, etc | [7 empty] | Prod | 3 | 0.1 |  | 1: 10000; 2: 10000; 3: 10000; 4: 10000; 5: 10000 | 50000 | Prod
Avg yearly Fully loaded cost of IT Staff |  |  | 100000 | [8 empty] | Dev | 1 | 0.033333 |  | 1: 3333.3333; 2: 3333.3333; 3: 3333.3333; 4: 3333.3333; 5: 3333.3333 | 16666.6667 | Dev
[12 empty] | Test | 1 | 0.033333 |  | 1: 3333.3333; 2: 3333.3333; 3: 3333.3333; 4: 3333.3333; 5: 3333.3333 | 16666.6667 | Test
[12 empty] | QA | 2 | 0.066667 |  | 1: 6666.6667; 2: 6666.6667; 3: 6666.6667; 4: 6666.6667; 5: 6666.6667 | 33333.3333 | QA
[12 empty] | DR | 5 | 0.16667 |  | 1: 16666.6667; 2: 16666.6667; 3: 16666.6667; 4: 16666.6667; 5: 16666.6667 | 83333.3333 | DR
[13 empty] | TOT FTE required | 0.4 |  | 0 | 0 | 0 | 0 | 0 | 40000 | 40000 | 40000 | 40000 | 40000 | 200000 | TOT
Network
Network | [13 empty] | # of Server |  | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5 | TOT
Avg cost of Networking Infrastructure per Server |  |  | 7000 | [9 empty] | Prod | 3 |  | 14700 |  |  |  |  | 0 | 1470 | 1470 | 1470 | 1470 | 20580 | Prod
Avg discount % |  |  | 30% | [9 empty] | Dev | 1 |  | 4900 |  |  |  |  | 0 | 490 | 490 | 490 | 490 | 6860 | Dev
Avg Maintenance/ Operating Cost (% of acq.) |  |  | 10% | [9 empty] | Test | 1 |  | 4900 |  |  |  |  | 0 | 490 | 490 | 490 | 490 | 6860 | Test
Avg Maintenance/ Operating Cost (Currency) |  |  | 700 | [9 empty] | QA | 2 |  | 9800 |  |  |  |  | 0 | 980 | 980 | 980 | 980 | 13720 | QA
Starting Year of Maint |  |  | 2 | [9 empty] | DR | 5 |  | 24500 |  |  |  |  | 0 | 2450 | 2450 | 2450 | 2450 | 34300 | DR
[13 empty] | TOT # of Servers | 12 |  | 58800 | 0 | 0 | 0 | 0 | 0 | 5880 | 5880 | 5880 | 5880 | 82320 | TOT
Facilities
Space | [12 empty] | # of Server | # of Rack Cab | Avg. Footprint | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5 | TOT
Footprint of Server Rack Cabinet |  | sq.m. | 2.6 | [8 empty] | Prod | 3 | 0.1 | 1 | 1: 2600; 2: 2600; 3: 2600; 4: 2600; 5: 2600 | 13000 | Prod
# of "boxes" per Rack |  |  | 30 | [8 empty] | Dev | 1 | 0.033333 | 0.086667 | 1: 225.3333; 2: 225.3333; 3: 225.3333; 4: 225.3333; 5: 225.3333 | 1126.6667 | Dev
Fully loaded cost of space per sq meter |  | $ | 2600 | [8 empty] | Test | 1 | 0.033333 | 0.086667 | 1: 225.3333; 2: 225.3333; 3: 225.3333; 4: 225.3333; 5: 225.3333 | 1126.6667 | Test
[12 empty] | QA | 2 | 0.066667 | 0.17333 | 1: 450.6667; 2: 450.6667; 3: 450.6667; 4: 450.6667; 5: 450.6667 | 2253.3333 | QA
[12 empty] | DR | 5 | 0.16667 | 1 | 1: 2600; 2: 2600; 3: 2600; 4: 2600; 5: 2600 | 13000 | DR
[13 empty] | 12 | 0.4 | 2.3467 | 0 | 0 | 0 | 0 | 0 | 6101.3333 | 6101.3333 | 6101.3333 | 6101.3333 | 6101.3333 | 30506.6667 | TOT
[13 empty] | # of Server | # of Rack Cab | 2 | 1: 6101.3333
Electricity | [12 empty] | # of Servers | kWh / year |  | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5 | TOT
Actual Electricity Cost at the sites |  | $/kWh | 0.3 | [8 empty] | Prod | 3 | 15768 |  | 6101.3333 1: 4730.4; 6101.3333 2: 4730.4; 6101.3333 3: 4730.4; 6101.3333 4: 4730.4; 6101.3333 5: 4730.4 | 23652 | Prod
Electricity Additional Cost for cooling, UPS and other peripherals |  | % | 66% | [8 empty] | Dev | 1 | 5256 |  | 6101.3333 1: 1576.8; 6101.3333 2: 1576.8; 6101.3333 3: 1576.8; 6101.3333 4: 1576.8; 6101.3333 5: 1576.8 | 7884 | Dev
Electricity Consumption of Selected Server |  | kWh | 0.6 | [8 empty] | Test | 1 | 5256 |  | 6101.3333 1: 1576.8; 6101.3333 2: 1576.8; 6101.3333 3: 1576.8; 6101.3333 4: 1576.8; 6101.3333 5: 1576.8 | 7884 | Test
Yearly kWh/ server |  | kWh | 5256 | [8 empty] | QA | 2 | 10512 |  | 6101.3333 1: 3153.6; 6101.3333 2: 3153.6; 6101.3333 3: 3153.6; 6101.3333 4: 3153.6; 6101.3333 5: 3153.6 | 15768 | QA
[12 empty] | DR | 5 | 26280 |  | 6101.3333 1: 7884; 6101.3333 2: 7884; 6101.3333 3: 7884; 6101.3333 4: 7884; 6101.3333 5: 7884 | 39420 | DR
[13 empty] | 12 | 63072 |  | 0 | 0 | 0 | 0 | 0 | 18921.6 | 18921.6 | 18921.6 | 18921.6 | 18921.6 | 94608 | TOT
[13 empty] | # of Servers | kWh / year
[12 empty] | Prod |  |  |  | 0 | 0 | 0 | 0 | 0 | 7330.4 | 7330.4 | 7330.4 | 7330.4 | 7330.4 | 36652 | Prod
[12 empty] | Dev |  |  |  | 0 | 0 | 0 | 0 | 0 | 1802.1333 | 1802.1333 | 1802.1333 | 1802.1333 | 1802.1333 | 9010.6667 | Dev
[12 empty] | Test |  |  |  | 0 | 0 | 0 | 0 | 0 | 1802.1333 | 1802.1333 | 1802.1333 | 1802.1333 | 1802.1333 | 9010.6667 | Test
[12 empty] | QA |  |  |  | 0 | 0 | 0 | 0 | 0 | 3604.2667 | 3604.2667 | 3604.2667 | 3604.2667 | 3604.2667 | 18021.3333 | QA
[12 empty] | DR |  |  |  | 0 | 0 | 0 | 0 | 0 | 10484 | 10484 | 10484 | 10484 | 10484 | 52420 | DR
[13 empty] | Facilities TOTALS |  |  | 0 | 0 | 0 | 0 | 0 | 25022.9333 | 25022.9333 | 25022.9333 | 25022.9333 | 25022.9333 | 125114.6667 | TOT
[14 empty] | Total costs for this scenario |  | 7011963.4 | 0 | 0 | 0 | 0 | 219172.9333 | 1594683.9333 | 1594683.9333 | 1615685.6133 | 1615685.6133 | 13651875.4267 | TOT
[14 empty] | Tot costs per year |  | 6101.3333 1: 7231136.3333; 6101.3333 2: 1594683.9333; 6101.3333 3: 1594683.9333; 6101.3333 4: 1615685.6133; 6101.3333 5: 1615685.6133 | 13651875.4267
[14 empty] | Tot cumulative costs |  | 6101.3333 1: 7231136.3333; 6101.3333 2: 8825820.2667; 6101.3333 3: 10420504.2; 6101.3333 4: 12036189.8133; 6101.3333 5: 13651875.4267

## LinuxONE TCO
Enterprise Grade Linux Environment | [14 empty] | Acquisition/Capital Cost |  |  |  |  | Maintenance/ Operating Cost |  |  |  |  | TOTALS
Typically LinuxONE | [14 empty] | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5
Hardware
Linux ONE | Acquisition Cost | Included cores | core cost | CBU Cost | Discount % | # of Cores per Server | Maintenance/ Operating Cost | Starting Year of Maint | kW |  |  | SW Incl | SW incl | SW incl | Acquisition/Capital Cost 1: SW incl
Simplicistic model to build a price example | 600000 | 6 | 50000 | 5000 | 30% | 190 | 10% | 4 | 15 |  |  | OS | VM | Admin | Acquisition/Capital Cost 1: Management
This is an estimate based on this web page: | https://www.ibm.com/it-infrastructure/resources/tools/linuxone-tco-calculator/
Simplicistic architecture considering always 2 LinuxONE servers, each one in a different site for HA & DR
| # of Cores (core) for bare workload | % of Cores vs bare workload | Allocated Cores | Site 1 core | Site 2 core | Site 1 CBU | Site 2 CBU |  | Allocation % |  |  | # of Server | # of Sockets | # of Cores | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5 | TOT
Prod | 5 | see sizing | 5 | 5 |  |  | 5 | Prod | 31.25% |  | Prod | 0.625 | 5 | 5 | 306250 |  |  |  |  | 0 | 0 | 0 | 30625 | 30625 | 367500 | Prod
Dev |  | 50% | 3 | 3 | 0 |  |  | Dev | 18.75% |  | Dev | 0.375 | 3 | 3 | 183750 |  |  |  |  | 0 | 0 | 0 | 18375 | 18375 | 220500 | Dev
Test |  | 50% | 3 | 0 | 3 |  |  | Test | 18.75% |  | Test | 0.375 | 3 | 3 | 183750 |  |  |  |  | 0 | 0 | 0 | 18375 | 18375 | 220500 | Test
PreProd |  | 100% | 5 |  | 5 | 5 |  | QA | 31.25% |  | QA | 0.625 | 5 | 5 | 306250 |  |  |  |  | 0 | 0 | 0 | 30625 | 30625 | 367500 | QA
DR | [5 empty] | 5 | 5 | DR |  |  | DR |  |  |  | 35000 |  |  |  |  | 0 | 0 | 0 | 3500 | 3500 | 42000 | DR
TOT |  |  | 16 | 8 | 8 | 5 | 5 |  | 100% |  |  | 2 | 16 | 16 | 1015000 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 101500 | 101500 | 1218000 | TOT
|  |  | Price per Site | 700000 | 700000 | 25000 | 25000 |  |  |  |  | # of Server | # of Sockets | # of Cores
Software Stack
Production | Acquisition/ Capital Cost | Maintenance/ Subscription | Starting Year of Maint charges | Discount % | Unit of Measure | Measured by | conversion factor | server | socket | core |  | count | Unit of Measure | Units | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5 | TOT
OS |  | 6000 | 1 | 20% | core | core | 1 | 0.625 | 5 | 5 |  | 5 | socket | 5 | 0 |  |  |  |  | 24000 | 24000 | 24000 | 24000 | 24000 | 120000
VM |  |  | 2 | 20% | core | core | 1 | 0.625 | 5 | 5 |  | 5 | socket | 5 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
Application Server | 1062 | 212.4 | 2 | 50% | PVU | core | 120 | 0.625 | 5 | 5 |  | 5 | PVU | 600 | 318600 |  |  |  |  | 0 | 63720 | 63720 | 63720 | 63720 | 573480
DB | 13748 | 2749.6 | 2 | 50% | core | core | 1 | 0.625 | 5 | 5 |  | 5 | core | 5 | 34370 |  |  |  |  | 0 | 6874 | 6874 | 6874 | 6874 | 61866
Data Replication Tools |  | 3000 | 1 | 50% | core | core | 1 | 0.625 | 5 | 5 |  | 5 | core | 5 | 0 |  |  |  |  | 7500 | 7500 | 7500 | 7500 | 7500 | 37500
Monitoring Tools | 5000 | 1000 | 2 | 40% | server | server | 1 | 0.625 | 5 | 5 |  | 0.625 | server | 0.625 | 1875 |  |  |  |  | 0 | 375 | 375 | 375 | 375 | 3375
Security Tools | 5000 | 1000 | 2 | 40% | server | server | 1 | 0.625 | 5 | 5 |  | 0.625 | server | 0.625 | 1875 |  |  |  |  | 0 | 375 | 375 | 375 | 375 | 3375
[14 empty] | PROD | 356720 | 0 | 0 | 0 | 0 | 31500 | 102844 | 102844 | 102844 | 102844 | 799596
Dev | Acquisition/ Capital Cost | Maintenance/ Subscription | Starting Year of Maint charges | Discount % | Unit of Measure | Measured by | conversion factor | server | socket | core |  | count | Unit of Measure | Units | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5 | TOT
OS | 0 | 6000 | 1 | 20% | core | core | 1 | 0.375 | 3 | 3 |  | 3 | socket | 3 | 0 |  |  |  |  | 14400 | 14400 | 14400 | 14400 | 14400 | 72000
VM | 0 | 0 | 2 | 20% | core | core | 1 | 0.375 | 3 | 3 |  | 3 | socket | 3 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
Application Server | 1062 | 212.4 | 2 | 50% | PVU | core | 120 | 0.375 | 3 | 3 |  | 3 | PVU | 360 | 191160 |  |  |  |  | 0 | 38232 | 38232 | 38232 | 38232 | 344088
DB | 13748 | 2749.6 | 2 | 50% | core | core | 1 | 0.375 | 3 | 3 |  | 3 | core | 3 | 20622 |  |  |  |  | 0 | 4124.4 | 4124.4 | 4124.4 | 4124.4 | 37119.6
Data Replication Tools | 0 | 3000 | 1 | 50% | core | core | 1 | 0.375 | 3 | 3 |  | 3 | core | 3 | 0 |  |  |  |  | 4500 | 4500 | 4500 | 4500 | 4500 | 22500
Monitoring Tools | 5000 | 1000 | 2 | 40% | server | server | 1 | 0.375 | 3 | 3 |  | 0.375 | server | 0.375 | 1125 |  |  |  |  | 0 | 225 | 225 | 225 | 225 | 2025
Security Tools | 5000 | 1000 | 2 | 40% | server | server | 1 | 0.375 | 3 | 3 |  | 0.375 | server | 0.375 | 1125 |  |  |  |  | 0 | 225 | 225 | 225 | 225 | 2025
[14 empty] | DEV | 214032 | 0 | 0 | 0 | 0 | 18900 | 61706.4 | 61706.4 | 61706.4 | 61706.4 | 479757.6
Test | Acquisition/ Capital Cost | Maintenance/ Operating Cost | Starting Year of Maint charges | Discount % | Unit of Measure | Measured by | conversion factor | server | socket | core |  | count | Unit of Measure | Units | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5 | TOT
OS | 0 | 6000 | 1 | 20% | core | core | 1 | 0.375 | 3 | 3 |  | 3 | socket | 3 | 0 |  |  |  |  | 14400 | 14400 | 14400 | 14400 | 14400 | 72000
VM | 0 | 0 | 2 | 20% | core | core | 1 | 0.375 | 3 | 3 |  | 3 | socket | 3 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
Application Server | 1062 | 212.4 | 2 | 50% | PVU | core | 120 | 0.375 | 3 | 3 |  | 3 | PVU | 360 | 191160 |  |  |  |  | 0 | 38232 | 38232 | 38232 | 38232 | 344088
DB | 13748 | 2749.6 | 2 | 50% | core | core | 1 | 0.375 | 3 | 3 |  | 3 | core | 3 | 20622 |  |  |  |  | 0 | 4124.4 | 4124.4 | 4124.4 | 4124.4 | 37119.6
Data Replication Tools | 0 | 3000 | 1 | 50% | core | core | 1 | 0.375 | 3 | 3 |  | 3 | core | 3 | 0 |  |  |  |  | 4500 | 4500 | 4500 | 4500 | 4500 | 22500
Monitoring Tools | 5000 | 1000 | 2 | 40% | server | server | 1 | 0.375 | 3 | 3 |  | 0.375 | server | 0.375 | 1125 |  |  |  |  | 0 | 225 | 225 | 225 | 225 | 2025
Security Tools | 5000 | 1000 | 2 | 40% | server | server | 1 | 0.375 | 3 | 3 |  | 0.375 | server | 0.375 | 1125 |  |  |  |  | 0 | 225 | 225 | 225 | 225 | 2025
[14 empty] | Test | 214032 | 0 | 0 | 0 | 0 | 18900 | 61706.4 | 61706.4 | 61706.4 | 61706.4 | 479757.6
Pre Prod / QA | Acquisition/ Capital Cost | Maintenance/ Operating Cost | Starting Year of Maint charges | Discount % | Unit of Measure | Measured by | conversion factor | server | socket | core |  | count | Unit of Measure | Units | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5 | TOT
OS | 0 | 6000 | 1 | 20% | core | core | 1 | 0.625 | 5 | 5 |  | 5 | socket | 5 | 0 |  |  |  |  | 24000 | 24000 | 24000 | 24000 | 24000 | 120000
VM | 0 | 0 | 2 | 20% | core | core | 1 | 0.625 | 5 | 5 |  | 5 | socket | 5 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
Application Server | 1062 | 212.4 | 2 | 50% | PVU | core | 120 | 0.625 | 5 | 5 |  | 5 | PVU | 600 | 318600 |  |  |  |  | 0 | 63720 | 63720 | 63720 | 63720 | 573480
DB | 13748 | 2749.6 | 2 | 50% | core | core | 1 | 0.625 | 5 | 5 |  | 5 | core | 5 | 34370 |  |  |  |  | 0 | 6874 | 6874 | 6874 | 6874 | 61866
Data Replication Tools | 0 | 3000 | 1 | 50% | core | core | 1 | 0.625 | 5 | 5 |  | 5 | core | 5 | 0 |  |  |  |  | 7500 | 7500 | 7500 | 7500 | 7500 | 37500
Monitoring Tools | 5000 | 1000 | 2 | 40% | server | server | 1 | 0.625 | 5 | 5 |  | 0.625 | server | 0.625 | 1875 |  |  |  |  | 0 | 375 | 375 | 375 | 375 | 3375
Security Tools | 5000 | 1000 | 2 | 40% | server | server | 1 | 0.625 | 5 | 5 |  | 0.625 | server | 0.625 | 1875 |  |  |  |  | 0 | 375 | 375 | 375 | 375 | 3375
[14 empty] | Pre Prod /QA | 356720 | 0 | 0 | 0 | 0 | 31500 | 102844 | 102844 | 102844 | 102844 | 799596
DR | Acquisition/ Capital Cost | Maintenance/ Operating Cost | Starting Year of Maint charges | Discount % | Unit of Measure | Measured by | conversion factor | server | socket | core |  | count | Unit of Measure | Units | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5 | TOT
OS | 0 | 6000 | 1 | 20% | core | core | 1 | 0 | 0 | 0 |  | 0 | socket | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
VM | 0 | 0 | 2 | 20% | core | core | 1 | 0 | 0 | 0 |  | 0 | socket | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
Application Server | 1062 | 212.4 | 2 | 50% | PVU | core | 120 | 0 | 0 | 0 |  | 0 | PVU | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
DB | 13748 | 2749.6 | 2 | 50% | core | core | 1 | 0 | 0 | 0 |  | 0 | core | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
Data Replication Tools | 0 | 3000 | 1 | 50% | core | core | 1 | 0 | 0 | 0 |  | 0 | core | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
Monitoring Tools | 5000 | 1000 | 2 | 40% | server | server | 1 | 0 | 0 | 0 |  | 0 | server | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
Security Tools | 5000 | 1000 | 2 | 40% | server | server | 1 | 0 | 0 | 0 |  | 0 | server | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0
[14 empty] | DR | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[12 empty] | Software Stack TOTALS |  |  | 1141504 | 0 | 0 | 0 | 0 | 100800 | 329100.8 | 329100.8 | 329100.8 | 329100.8 | 2558707.2 | TOT
People
People | [11 empty] | # of Server | FTE Require |  | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5 | TOT
# of Servers covered by 1 FTE for IT Operations considering QoS |  | 10 | This is for patches, upgrade, backup, Crit Sit or Disaster recovery personnels, etc | [7 empty] | Prod | 0.625 | 0.0625 |  | 1: 6250; 2: 6250; 3: 6250; 4: 6250; 5: 6250 | 31250 | Prod
Avg yearly Fully loaded cost of IT Staff |  | 100000 | [8 empty] | Dev | 0.375 | 0.0375 |  | 1: 3750; 2: 3750; 3: 3750; 4: 3750; 5: 3750 | 18750 | Dev
[11 empty] | Test | 0.375 | 0.0375 |  | 1: 3750; 2: 3750; 3: 3750; 4: 3750; 5: 3750 | 18750 | Test
[11 empty] | QA | 0.625 | 0.0625 |  | 1: 6250; 2: 6250; 3: 6250; 4: 6250; 5: 6250 | 31250 | QA
[11 empty] | DR | 0 | 0 |  | 1: 0; 2: 0; 3: 0; 4: 0; 5: 0 | 0 | DR
[12 empty] | TOT FTE required | 0.2 |  | 0 | 0 | 0 | 0 | 0 | 20000 | 20000 | 20000 | 20000 | 20000 | 100000 | TOT
Network
Network | [12 empty] | # of Server |  | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5 | TOT
Avg cost of Networking Infrastructure per Server |  | 14000 | [9 empty] | Prod | 0.625 |  | 6125 |  |  |  |  | 0 | 612.5 | 612.5 | 612.5 | 612.5 | 8575 | Prod
Avg discount % |  | 30% | [9 empty] | Dev | 0.375 |  | 3675 |  |  |  |  | 0 | 367.5 | 367.5 | 367.5 | 367.5 | 5145 | Dev
Avg Maintenance/ Operating Cost (% of acq.) |  | 10% | [9 empty] | Test | 0.375 |  | 3675 |  |  |  |  | 0 | 367.5 | 367.5 | 367.5 | 367.5 | 5145 | Test
Avg Maintenance/ Operating Cost (Currency) |  | 1400 | [9 empty] | QA | 0.625 |  | 6125 |  |  |  |  | 0 | 612.5 | 612.5 | 612.5 | 612.5 | 8575 | QA
Starting Year of Maint |  | 2 | [9 empty] | DR | 0 |  | 0 |  |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | DR
[12 empty] | TOT # of Servers | 2 |  | 19600 | 0 | 0 | 0 | 0 | 0 | 1960 | 1960 | 1960 | 1960 | 27440 | TOT
Facilities
Space | [11 empty] | # of Server | # of Rack Cab | Avg. Footprint | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5 | TOT
Footprint of Server Rack Cabinet | sq.m. | 2.6 | [8 empty] | Prod | 0.625 | 0.625 | 1.625 | 1: 4550; 2: 4550; 3: 4550; 4: 4550; 5: 4550 | 22750 | Prod
[11 empty] | Dev | 0.375 | 0.375 | 0.975 | 1: 2730; 2: 2730; 3: 2730; 4: 2730; 5: 2730 | 13650 | Dev
Fully loaded cost of space per sq meter | $ | 2800 | [8 empty] | Test | 0.375 | 0.375 | 0.975 | 1: 2730; 2: 2730; 3: 2730; 4: 2730; 5: 2730 | 13650 | Test
[11 empty] | QA | 0.625 | 0.625 | 1.625 | 1: 4550; 2: 4550; 3: 4550; 4: 4550; 5: 4550 | 22750 | QA
[11 empty] | DR | 0 | 0 | 0 | 1: 0; 2: 0; 3: 0; 4: 0; 5: 0 | 0 | DR
[12 empty] | 2 | 2 | 5.2 | 0 | 0 | 0 | 0 | 0 | 14560 | 14560 | 14560 | 14560 | 14560 | 72800 | TOT
[12 empty] | # of Server | # of Rack Cab | Avg. Footprint
Electricity | [11 empty] | # of Servers | kWh / year |  | 1 | 2 | 3 | 4 | 5 | 1 | 2 | 3 | 4 | 5 | TOT
Actual Electricity Cost at the sites | $/kWh | 0.3 |  |  |  |  | Electricity Consumption by fully loaded z Server | kWh | 15 |  | Prod | 0.625 | 3457.8947 |  | 1: 1037.3684; 2: 1037.3684; 3: 1037.3684; 4: 1037.3684; 5: 1037.3684 | 5186.8421 | Prod
Electricity Additional Cost for cooling, UPS and other peripherals | % | 66% |  |  |  |  | Electricity by core | kWh | 0.078947 |  | Dev | 0.375 | 2074.7368 |  | 1: 622.4211; 2: 622.4211; 3: 622.4211; 4: 622.4211; 5: 622.4211 | 3112.1053 | Dev
Electricity Consumption of Selected Server | kWh | 0.63158 | [8 empty] | Test | 0.375 | 2074.7368 |  | 1: 622.4211; 2: 622.4211; 3: 622.4211; 4: 622.4211; 5: 622.4211 | 3112.1053 | Test
Yearly kWh/ server | kWh | 5532.6316 |  |  |  |  | Number of cores |  | 8 |  | QA | 0.625 | 3457.8947 |  | 1: 1037.3684; 2: 1037.3684; 3: 1037.3684; 4: 1037.3684; 5: 1037.3684 | 5186.8421 | QA
[11 empty] | DR | 0 | 0 |  | 1: 0; 2: 0; 3: 0; 4: 0; 5: 0 | 0 | DR
[12 empty] | 2 | 11065.2632 |  | 0 | 0 | 0 | 0 | 0 | 3319.5789 | 3319.5789 | 3319.5789 | 3319.5789 | 3319.5789 | 16597.8947 | TOT
[12 empty] | # of Servers | kWh / year
[11 empty] | Prod |  |  |  | 0 | 0 | 0 | 0 | 0 | 5587.3684 | 5587.3684 | 5587.3684 | 5587.3684 | 5587.3684 | 27936.8421 | Prod
[11 empty] | Dev |  |  |  | 0 | 0 | 0 | 0 | 0 | 3352.4211 | 3352.4211 | 3352.4211 | 3352.4211 | 3352.4211 | 16762.1053 | Dev
[11 empty] | Test |  |  |  | 0 | 0 | 0 | 0 | 0 | 3352.4211 | 3352.4211 | 3352.4211 | 3352.4211 | 3352.4211 | 16762.1053 | Test
[11 empty] | QA |  |  |  | 0 | 0 | 0 | 0 | 0 | 5587.3684 | 5587.3684 | 5587.3684 | 5587.3684 | 5587.3684 | 27936.8421 | QA
[11 empty] | DR |  |  |  | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | DR
[12 empty] | Facilities TOTALS |  |  | 0 | 0 | 0 | 0 | 0 | 17879.5789 | 17879.5789 | 17879.5789 | 17879.5789 | 17879.5789 | 89397.8947 | TOT
[13 empty] | Total costs for this scenario |  | 2176104 | 0 | 0 | 0 | 0 | 138679.5789 | 368940.3789 | 368940.3789 | 470440.3789 | 470440.3789 | 3993545.0947 | TOT
[13 empty] | Tot costs per year |  | 1: 2314783.5789; 2: 368940.3789; 3: 368940.3789; 4: 470440.3789; 5: 470440.3789 | 3993545.0947
[13 empty] | Tot cumulative costs |  | 1: 2314783.5789; 2: 2683723.9579; 3: 3052664.3368; 4: 3523104.7158; 5: 3993545.0947

## TCO comparison
| Workload [TPS]= | 1000
| x86 | Environments | [6 empty] | LinuxONE | Environments
Rack server w Xeon Gold 6242 20C 3.10GHz (2 Chips, 40 Cores) |  | Prod | Dev | Test | PreProd/QA | DR | Tot by Comp |  |  | Prod | Dev | Test | PreProd/QA | DR | Tot by Comp
Components | Hardware | 36752.94 | 12250.98 | 12250.98 | 24501.96 | 61254.9 | 147011.76 | Components | Hardware | 367500 | 220500 | 220500 | 367500 | 42000 | 1218000
| Software | 3566317 | 1001732.5 | 1001732.5 | 1988265 | 5539382 | 13097429 |  | Software | 799596 | 479757.6 | 479757.6 | 799596 | 0 | 2558707.2
| People | 200000 |  |  |  |  | 200000 |  | People | 100000 |  |  |  |  | 100000
| Network | 20580 | 6860 | 6860 | 13720 | 34300 | 82320 |  | Network | 8575 | 5145 | 5145 | 8575 | 0 | 27440
| Space | 13000 | 1126.6667 | 1126.6667 | 2253.3333 | 13000 | 30506.6667 |  | Space | 22750 | 13650 | 13650 | 22750 | 0 | 72800
| Electricity | 23652 | 7884 | 7884 | 15768 | 39420 | 94608 |  | Electricity | 5186.8421 | 3112.1053 | 3112.1053 | 5186.8421 | 0 | 16597.8947
| Total by Env | 3860301.94 | 1029854.1467 | 1029854.1467 | 2044508.2933 | 5687356.9 | 13651875.4267 |  | Total by Env | 1303607.8421 | 722164.7053 | 722164.7053 | 1203607.8421 | 42000 | 3993545.0947
[14 empty] | Savings = | 70.75%
| Hardware | Software | People | Network | Facilities | DR | TOT
x86 | 85756.86 | 7558047 | 200000 | 48020 | 72694.6667 | 5687356.9 | 13651875.4267
LinuxONE | 1176000 | 2558707.2 | 100000 | 27440 | 89397.8947 | 42000 | 3993545.0947
| Cumulative Costs | Year 1 | Year 2 | Year 3 | Year 4 | Year 5
| x86 | 7231136.3333 | 8825820.2667 | 10420504.2 | 12036189.8133 | 13651875.4267
| LinuxONE | 2314783.5789 | 2683723.9579 | 3052664.3368 | 3523104.7158 | 3993545.0947
| TCA (1st year) | Hardware | Software | TOT
| x86 | 105008.4 | 1865315 | 1970323.4
| LinuxONE | 1015000 | 356720 | 1371720 | 69.62%

## x86 vs LinuxOne
TPS | x86 | LinuxOne | %
10 | 103111 | 920594 | 893
50 | 184325 | 920594 | 499
100 | 265539 | 920594 | 347
150 | 387360 | 920594 | 238
200 | 468574 | 920594 | 196
250 | 594395 | 999188 | 168
300 | 675609 | 999188 | 148
350 | 797430 | 999188 | 125
400 | 878644 | 999188 | 114
480 | 1068574 | 1076382 | 100
1000 | 1970323 | 1371720 | 70
2000 | 3052003 | 2249940 | 74
3000 | 4120180 | 3197823 | 78
4000 | 5201860 | 4075880 | 78
5000 | 6328542 | 5023797 | 79
6000 | 7392719 | 5901820 | 80
7000 | 8478399 | 6849752 | 81
9000 | 10669258 | 8675701 | 81
15000 | 17177334 | 14153532 | 82
20000 | 22599730 | 18683400 | 83
30000 | 33489524 | 27813100 | 83
50000 | 55245613 | 46072500 | 83
100000 | 109589080 | 91721000 | 84